INSPECTION PROFORMA FOR

4th YEAR RENEWAL

AS PER DCI REGULATIONS 2006

(All Points and parameters are to be verified and established in person by the designated Inspectors. All necessary documents to be verified by the Principal for submission along with the report)

No. of Seats applied for: 50

DCI Ref/ Letter No: DE-________________________ Dated: ________________

Date of Inspection	:	________________________________________

Date of Last Inspection:	________________________________________

Name and Address of Inspectors

- ___________________________________________________________

___________________________________________________________

___________________________________________________________

- ___________________________________________________________

___________________________________________________________

___________________________________________________________

Note:-

I:	Each column will be completely filled by the Inspector by computer printing/typing in detail. Annexures will be duly certified by the inspectors and will be sent by the college authorities to DCI within 48 hours of Inspection.

II:	No annexure, except consolidated list of teaching staff in the DCI prescribed format, will be attached alongwith the Inspection Proforma.

III:	Each page of the Inspection Proforma will be certified by putting full signature and date of the Council’s Inspectors

I.	SCRUTINY OF REQUISITE PERMISSIONS

| Name & Address of the Dental College | : |  |
| --- | --- | --- |
| Email Address for Correspondence | : |  |
| Telephone & Fax No. | : |  |
| Status | : | Govt. / Private / Deemed |
| Year of Establishment | : |  |
| GOI Permission No. & Date | : |  |
| State Government Essentiality/ Permission Certificate | : | Issued By: |
|  |  | No. & Date: |
|  |  | Valid Upto: |
| University Affiliation | : | Issued By: |
| (Provisional / Permanent) |  | No. & Date: |
|  |  | Valid Upto: |

II.	Date and number of last annual admission with details*

| Category | No. admitted | Dates of admission |  |
| --- | --- | --- | --- |
|  |  | Commence | End |
| S.C. |  |  |  |
| S.T. |  |  |  |
| Backward |  |  |  |
| Merit |  |  |  |
| Management |  |  |  |
| Others |  |  |  |
| Total |  |  |  |

*Note: Where admission(s) has/have been done without the permission of the competent authority the reason thereof be given in each and every case separately duly certified by the Principal of the Institution.

### III. 	HOSPITAL: Requirement of the 100 bedded general hospital for teaching BDS students drawn up in accordance with the parameters prescribed by the Bureau of Indian Standards

|  | Own Hospital |  |  | Medical College |  | Govt. General Hospital |
| --- | --- | --- | --- | --- | --- | --- |

| Whether the permission of the attached 100 bedded hospital is issued by the competent authority? | : | Yes / No |
| --- | --- | --- |
| Name and Full Address of Hospital: |  |  |
| Name of the CMO with Tel No. & Mobile No.: |  |  |
| Name of the Issuing Competent Authority: |  |  |
| Distance of the hospital from the Dental College | : |  |
| by Road (please clarify as to whether you have physically verified/taking the reading of Taxi/Car Meter) |  |  |

| Number of Beds | : | Total: ___________________ |
| --- | --- | --- |

| Department | Required | Allotted | Occupancy |  |
| --- | --- | --- | --- | --- |
|  |  |  | During last 6 months | On the day of inspection |
| General Ward – Medical including allied specialities | 30 |  |  |  |
| General Ward –Surgical including allied specialities | 30 |  |  |  |
| Private Ward (A/C & Non A/c) | 9 |  |  |  |
| Maternity Ward | 15 |  |  |  |
| Paediatric Ward | 6 |  |  |  |
| Intensive Care Services (4% of bed strength) | 4 |  |  |  |
| Critical Care Services (6% of bed strength) | 6 |  |  |  |

Area Requirements (As per Bureau of Indian Standards)

|  | Required | Available |
| --- | --- | --- |
| Covered Area | 20 sq.m./bed |  |
| Inpatient Services | 40% |  |
| Outpatient Services | 35% |  |
| Department and supportive services | 25% |  |

Man Power Requirement

(The consultants in the various departments should have atleast 8 years teaching experience after post graduation)

Medical Staff

| Department | Required | Available |
| --- | --- | --- |
| General Surgery | 2 |  |
| General Medicine | 2 |  |
| Obstetrics & Gynaecology | 2 |  |
| ENT | 2 |  |
| Paediatrics | 2 |  |
| Anaesthesia | 2 |  |
| Orthopaedics | 2 |  |
| Pharmacologist | 1 |  |
| Radiologist | 1 |  |
| GDMO | 1 |  |
| Community Medicine | 1 |  |
| Hospital Administration | 1 |  |

Nursing Staff

| Designation | Required | Available |
| --- | --- | --- |
| Matron | 1 |  |
| Sister Incharge | 6 |  |
| O.T. Nurses | 6 |  |
| General Nurses | 20 |  |
| Labour Room Nurses | 4 |  |

Health Staff

| Designation | Required | Available |
| --- | --- | --- |
| Female Health Assistant | 1 |  |
| Extension Educator Paramedical Staff | 1 |  |
| Lab Technician/Blood Bank Tech | 4 |  |
| ECG Technician | 1 |  |
| Pharmacist | 4 |  |
| Sr. Radiographer | 1 |  |
| CSSD | 2 |  |
| Medical Records | 1 |  |

Engineering Staff

| Designation | Required | Available |
| --- | --- | --- |
| Civil | 2 |  |
| Mechanical | 2 |  |
| Electrical | 2 |  |
| Engineering Aid | 4 |  |

Other Staff

| Designation | Required | Available |
| --- | --- | --- |
| Drivers | 2 |  |
| Carpenter | 1 |  |
| Cooks | 2 |  |
| Barber | 1 |  |
| Class IV including chowkiders | 55 |  |

Administrative Staff

| ###### Designation | Required | Available |
| --- | --- | --- |
| Office Superintendent | 1 |  |
| Head Clerk | 1 |  |
| Cashier | 1 |  |
| Stenographer | 1 |  |
| UDC | 2 |  |
| LDC | 4 |  |

CLINICAL MATERIAL to be checked at the end of the OPD:

(Attendance Register to be checked)

| ATTACHED HOSPITAL Attendances | : | During Inspection: _____________________ |
| --- | --- | --- |
|  |  | Average (Last 6 months): _____________________ |

| DENTAL COLLEGE HOSPITAL Attendances | : | During Inspection: _____________________ |
| --- | --- | --- |
|  |  | Average (Last 6 months): _____________________ |

*Minimum requirement of new patient’s is 75-100 patients per day in Dental College Hospital

- DENTAL TEACHING STAFF

|  | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | PRINCIPAL With speciality |  |  |  |  |  |  |  |  |  |

PROSTHODONTICS

| 1. | PROFESSOR |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | READER |  |  |  |  |  |  |  |  |  |
| 2. | READER |  |  |  |  |  |  |  |  |  |

CONSERVATIVE DENTISTRY

| S. No. | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | PROFESSOR |  |  |  |  |  |  |  |  |  |
| 1. | READER |  |  |  |  |  |  |  |  |  |
| 2. | READER |  |  |  |  |  |  |  |  |  |

ORAL PATHOLOGY

| 1. | PROFESSOR |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | READER |  |  |  |  |  |  |  |  |  |

ORAL & MAXILOFACIAL SURGERY

| S. No. | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | PROFESSOR |  |  |  |  |  |  |  |  |  |
| 1. | READER |  |  |  |  |  |  |  |  |  |

PERIODONTICS

| 1. | PROFESSOR |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | READER |  |  |  |  |  |  |  |  |  |

ORTHODONTICS

| 1. | PROFESSOR |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | READER |  |  |  |  |  |  |  |  |  |

PEDODONTICS

| S. No. | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | READER |  |  |  |  |  |  |  |  |  |

ORAL MEDICINE

| 1. | READER |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

PUBLIC HEALTH DENTISTRY

| 1. | READER |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

LECTURERS/TUTORS			Lecturers - MDS (25%): ________	Tutors - BDS (75%): ________

| S. No. | MDS with speciality/BDS | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Note:- All affidavits of the teaching staff and their requisite documents should be in the same order as mentioned above

*If the teaching staff is not present, whether the sanctioned leave certificate is attached?

(As per Dental Council of India (Miscellaneous) Regulations, 2007)

1. Faculty ID Card issued by the Dental Council of India is mandatory.

2. The appointment of faculty in private dental colleges should be made through proper selection committee (as per University Act of the concerned State).

V.	MEDICAL TEACHING STAFF (Eligibility will be as per MCI Regulations – 5th December 1998)

ANATOMY

| S. No. | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Reader |  |  |  |  |  |  |  |  |  |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

PHYSIOLOGY

| 1. | Reader |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

BIOCHEMISTRY

| S. No. | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Reader |  |  |  |  |  |  |  |  |  |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

PHARMACOLOGY

| 1. | Reader |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

GENERAL PATHOLOGY

| S. No. | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Reader |  |  |  |  |  |  |  |  |  |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

MICROBIOLOGY

| 1. | Reader |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

GENERAL MEDICINE

| S. No. | Designation | Faculty Name | DOB | Original Affidavit with date | ID CARD No | Form 16 | Total Service college wise in all the previous Institutes (attach appendix) | DOJ & Experience in present institute | Total Experience as on 15th June of current year | *Present during Inspection |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Reader |  |  |  |  |  |  |  |  |  |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

GENERAL SURGERY

| 1. | Reader |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |
| 2. | Lecturer |  |  |  |  |  |  |  |  |  |

ANESTHESIA

| 1. | Reader |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Lecturer |  |  |  |  |  |  |  |  |  |

Note:-	All affidavits of the teaching staff and their requisite documents should be in the same order as mentioned above

*If the teaching staff is not present, whether the sanctioned leave certificate is attached?

VI.		SUMMARY - DENTAL TEACHING STAFF

| Department | Professor |  | Reader |  | Lecturer |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Required | Available | Required | Available | Required | Available |
| Prosthodontics | 1 |  | 2 |  |  |  |
| Oral Pathology | 1 |  | 1 |  |  |  |
| Conservative Dentistry | 1 |  | 2 |  |  |  |
| Oral & Maxillofacial Surgery | 1 |  | 1 |  |  |  |
| Periodontics | 1 |  | 1 |  |  |  |
| Orthodontics | 1 |  | 1 |  |  |  |
| Pedodontics |  |  | 1 |  |  |  |
| Oral Medicine |  |  | 1 |  |  |  |
| Public Health Dentistry |  |  | 1 |  |  |  |
| Total | 6* |  | 11 |  | 30 |  |

* Including one Principal from any speciality

Attach list of entire faculty department-wise in attached DCI prescribed proforma as Annexure-I.

VII.		SUMMARY - MEDICAL TEACHING STAFF

| Departments | Number of Readers |  | Number of Lecturers |  |
| --- | --- | --- | --- | --- |
|  | Required | Available | Required | Available |
| Anatomy | 1 |  | 2 |  |
| Physiology | 1 |  | 2 |  |
| Biochemistry | 1 |  | 2 |  |
| Pharmacology | 1 |  | 2 |  |
| General Pathology | 1 |  | 2 |  |
| Microbiology | 1 |  | 2 |  |
| General Medicine | 1 |  | 2 |  |
| General Surgery | 1 |  | 2 |  |
| Anesthesia | 1 |  | 1 |  |
| Total | 9 |  | 17 |  |

Attach list of entire faculty department-wise in attached DCI prescribed proforma as Annexure-I.

# DETAILS OF TEACHING STAFF SPECIALITY WISE				Annexure-I

Name of the Department:

| Sr. No. | Name | Present Designation | Date of Birth | Qualification |  |  |  | Details of Teaching Experience in an approved/recognized institution |  |  |  | Proof in support of Col. 6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | BDS/MDS Degree (Subject) | Year of Passing |  | University | After P.G. |  |  |  |  |
|  |  |  |  |  |  |  |  | Designation | Place | Date & Years |  |  |
|  |  |  |  |  |  |  |  |  |  | From | To |  |
| 1. | 2. | 3. | 4. | 5. |  |  |  | 6. |  |  |  | 7. |
| 1. |  | Principal |  |  |  |  |  |  |  |  |  |  |
| 2. |  | Professor & HOD |  |  |  |  |  |  |  |  |  |  |
| 3. |  | Professor |  |  |  |  |  |  |  |  |  |  |
| 4. |  | Professor |  |  |  |  |  |  |  |  |  |  |
| 5. |  | Reader |  |  |  |  |  |  |  |  |  |  |
| 6. |  | Reader |  |  |  |  |  |  |  |  |  |  |
| 7. |  | Reader |  |  |  |  |  |  |  |  |  |  |
| 8. |  | Senior Lecturer |  |  |  |  |  |  |  |  |  |  |
| 9. |  | Senior Lecturer |  |  |  |  |  |  |  |  |  |  |
| 10. |  | Tutor (experience after BDS) |  |  |  |  |  |  |  |  |  |  |

Seal & Signature of the Head of the 					Inspector 1 :

Dental Institution

*Attach additional pages wherever required.								Inspector 2 :

Note: Teaching experience to be filled up/verified by the inspectors themselves(s)

and must be attached and forwarded with Inspection Report Proforma.

VIII.		CLINICAL ACTIVITIES

1.	Random check of Practical Note Books.

(e.g. General Anatomy, Physiology, Dental Anatomy, Biochemistry, Pathology, Microbiology, Pharmacology, Dental Materials, Oral Pathology etc.)

2.	Random check of Clinical Work.

(e.g. Dentures, Restoration, Exts, Prophylaxis etc.)

3.	Random check of Patient’s Case History Sheets.

4.	Random check of Community Dentistry education material and charts etc.

5.	Random check of Clinical Work Note Books.

6.	BDS student appearing for Final Professional University Examination as per BDS Course Regulations, 1993* and 2007. Should have completed the following clinical work.

- Prosthetic – Full Dentures = 3, Partial Dentures = 10

- Oral Surgery – Extractions = 100, Minor Surgery = 5

- Prophylaxis = 50

- Conservative and Endodontics – Restoration; Amalgam/GIC = 90, RCT = 10

- Paedodontics – Fillings = 25, Exts = 3, Prophylaxis = 10, Fluoride Applications = 5.

- Orthodontia = Removable Appliances = 10.

*Should have completed 75% of the above clinical work.

OBSERVATIONS

IX.		NON-TEACHING STAFF/ MINISTERIAL STAFF:

Please furnish the details of non-teaching staff available at the said college.

|  |  | Requirement | Available |
| --- | --- | --- | --- |
| 1 | Managers/ Office Suptd. | 4 |  |
| 2. | Assistants | 8 |  |
| 3. | Receptionist | 8 |  |
| 4. | Librarian | 1 |  |
| 5. | D.S.A.(Chair side Attendant) | 10 |  |
| 6. | Dent. Tech. (Dental Mechanic) | 6 |  |
| 7. | Dent. Hygst. | 3 |  |
| 8. | Radiographer | 2 |  |
| 9. | Photographer | 1 |  |
| 10 | Artist | 1 |  |
| 11 | Programmer | 1 |  |
| 12 | Data Entry Operators | 1 |  |
| 13 | Physical Director | 1 |  |
| 14 | Engineer | 1 |  |
| 15. | Electricians | 2 |  |
| 16. | Plumber | 1 |  |
| 17. | Carpenter | 1 |  |
| 18. | Mason | 1 |  |
| 19. | A.C. Tech. | 1 |  |
| 20 | Helpers Electrical | 1 |  |
| 21. | Sweepers & Scavengers | 10 |  |
| 22. | Attenders | 18 |  |
| 23. | Security Personal | 5 |  |
| 24. | Dept. Secretaries | 4 |  |
| 25. | Driver | 4 |  |
| 26. | Nurses | 3 |  |
| 27. | Lab. Technicians | 3 |  |

X.	CENTRAL LIBRARY

| Total Number of Books | : |  |
| --- | --- | --- |
| Total Number of Journals | : |  |
| Indian Journals | : |  |
| International Journals | : |  |
| Back Volumes | : |  |
| Total Area | : |  |
| Seating Capacity | : |  |
| (it should be 50% of total students strength) |  |  |
| List of books recommended by the Dental Council of India | : |  |
| Note: There should be 3 copies of each title for 50 admissions |  |  |
| Journal Room | : |  |
| Computer / Internet Room | : |  |
| Room for Librarian | : |  |
| Photocopying area | : |  |
| Staff available in the Library | : |  |

XI.	DENTAL CHAIRS / UNITS*

| Total Dental Chairs Installed with all the attachments thereon (Required: 100 Dental Chairs) | : |  |
| --- | --- | --- |
| Whether all the chairs and units are functioning and electrically operated? | : | Yes / No |
| Number of Dental Chairs Electrically Operated | : |  |
| Number of Dental Chairs Non-Electrically Operated | : |  |

* 	Specification: Electrically operated, Spittoon attachment, Halogen Light with 2 intensity, high power evacuation system, Air ventury suction, X-ray viewer, Airrotor, Micromotor with straight and contrangle Handpiece,  3 way syringe, ultrasonic sealer with 3 tips, Light cure unit, instrument tray and suction, Dental operator stool with height adjustment

XII.	MAJOR EQUIPMENTS

DEPARTMENT: 	PROSTHODONTICS AND CROWN & BRIDGE

| Name | Specification | Quantity |  |
| --- | --- | --- | --- |
|  |  | Required | Available |
| Dental Chairs and Units | As per specification | 17 |  |
| Semi adjustable articulator | With face bow | 2 |  |
| Extra oral/intra oral tracer |  | 2 |  |
| Dewaxing unit |  | 1 |  |
| Curing unit |  | 1 |  |
| Dental casting machine |  | 1 |  |
| Wax burnout furnace |  | 1 |  |
| Pre heating furnace |  | 1 |  |
| Surveying unit |  | 1 |  |
| Heavy duty hand piece | Lab micromotors | 3 |  |
| Autoclave | Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters | 1 |  |
| Needle burner with syringe cutter |  | 1 |  |
| Plaster Dispenser | One each for plaster and stone plaster | 2 |  |
| Model Trimmer with Carborandum Disc |  | 1 |  |
| Model Trimmer with Diamond Disc |  | 1 |  |
| Acrylizer |  | 2 |  |
| Lathe |  | 1 |  |
| Flask press |  | 4 |  |
| Deflasking unit |  | 4 |  |
| Dewaxing unit |  | 2 |  |
| Hydraulic Press |  | 2 |  |
| Mechanical Press |  | 1 |  |
| Vacuum mixing machine |  | 1 |  |
| Lab Micro motor | With heavy duty handpiece | 3 |  |
| Curing pressure pot |  | 1 |  |
| Porcelain furnace Vibrator Sand blasting unit Ultrasonic cleaner Model Trimmer Hot water sterilizer Geyser H.P. grinder with suction Heavy duty lathe Phantom heads Pre-clinical working tables | Compound bath Gas connection & bunson burner | 1 1 2 1 2 1 1 2 2 50 50 |  |

CERAMIC AND CAST PARTIAL LABORATORY

| NAME | SPECIFICATIONS | Required | Available | Deficiency |
| --- | --- | --- | --- | --- |
| Plaster Dispensor | One each for plaster and stone plaster | 2 |  |  |
| Duplicator |  | 1 |  |  |
| Pindex System |  | 1 |  |  |
| Circular saw |  | 1 |  |  |
| Burn out furnace |  | 1 |  |  |
| Sandblasting machine | With two containers | 1 |  |  |
| Electro-polisher |  | 1 |  |  |
| Model Trimmer with Carborandum disc |  | 1 |  |  |
| Model Trimmer with Diamond disc |  | 1 |  |  |
| Induction casting machine |  | 1 |  |  |
| Programmable porcelain furnace with vacuum pump with instrument kit and material kit |  | 1 |  |  |
| Spot welder with soldering, attachment of cable |  | 1 |  |  |
| Vacuum mixing machine |  | 1 |  |  |
| Steam Cleaner |  | 1 |  |  |
| Spindle Grinder 24,000 RPM with vacuum suction |  | 1 |  |  |
| Wax heater |  | 1 |  |  |
| Wax carver |  | 1 |  |  |
| Curing pressure pot |  | 1 |  |  |
| Milling machine |  | 1 |  |  |
| Heavy duty lathe with suction |  | 1 |  |  |
| Preheating furnace |  | 1 |  |  |
| Palatal trimmer |  | 1 |  |  |
| Ultrasonic cleaner | 5 liters capacity | 1 |  |  |
| Composite curing unit |  | 1 |  |  |
| Micro surveyor |  | 1 |  |  |
| PRE-CLINICAL PROSTHETICS LABORATORY | Work table preferably complete stainless steel fitted with light, Bunsen burner, air blower, working stool. Adequate number of lab micro motor with attached hand piece | 60 20 |  |  |
| PLASTER ROOM FOR PRE-CLINICAL WORK |  |  |  |  |
| Plaster dispenser | One each for plaster and stone plaster | 2 |  |  |
| Vibrator |  | 2 |  |  |
| Lathe |  | 2 |  |  |
| Model Trimmer |  | 1 |  |  |
| Carborandum Disc |  | 1 |  |  |
| Diamond disc |  | 1 |  |  |

DEPARTMENT : CONSERVATIVE DENTISTRY AND ENDODONTICS

| Name | Specification | Quantity |  |
| --- | --- | --- | --- |
|  |  | Required | Available |
| Dental Chairs and Units | As per specification | 17 |  |
| Rubber dam kits |  | 4 |  |
| Restorative instruments kits |  | 5 |  |
| R.C.T. instrument kits |  | 5 |  |
| Autoclaves | Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters | 2 |  |
| Ultrasonic cleaner | Minimum capacity 13 liters with mesh bucket | 1 |  |
| Needle burner with syringe cutter |  | 3 |  |
| Amalgamator | With auto proportion, auto dispenser | 2 |  |
| Rubber dam kits |  | 4 |  |
| Pulp Tester-Digital |  | 2 |  |
| Apex Locator |  | 1 |  |
| Glass bead sterilizers |  | 4 |  |
| Plaster dispensers |  | 2 |  |
| Vibrator |  | 1 |  |
| Ceramic Unit |  | 1 |  |
| Casting machine |  | 1 |  |
| Intra-oral X-ray Unit | Proper radiation safety | 1 |  |
| Automatic Developer |  | 1 |  |
| Radiovisiography | RVG with Computer | 1 |  |
| Endo motor | With torque control Hps | 1 |  |
| Bleaching unit |  | 1 |  |
| Magnification loops |  | 1 |  |
| Injectable gutta percha |  | 1 |  |
| PHANTOM LAB UNIT | Phantom Table fitted with Halogen Operating Light Phantom Head body type neck joint for all the movement, TMJ movement. Modular with Air rotor, Micro motor with contra angle Hps, 3-way syringe, jaw with ivorine teeth, preferably soft gingival, dental operator’s stool (not to use extracted or cadaver teeth). | 30 |  |

CHEMICAL LABORATORY

| Plaster Dispenser | One each for plaster and stone plaster | 2 |  |
| --- | --- | --- | --- |
| Model Trimmer | Carborandum disc | 1 |  |
|  | Diamond disc | 1 |  |
| Lathe | Heavy Duty | 1 |  |
| Lab Micromotor | With heavy duty handpiece | 2 |  |
| Ultrasonic cleaner | Minimum capacity 5 liters | 1 |  |
| Spindle Grinder |  | 1 |  |
| Vibrator |  | 1 |  |
| Burnout furnace |  | 1 |  |
| Porcelain furnace |  | 1 |  |
| Sandblasting Machine |  | 1 |  |
| Lab Airrotor |  | 1 |  |
| Pindex System |  | 1 |  |
| Circular saw |  | 1 |  |
| Vacuum mixer |  | 1 |  |
| Pneumatic chisel |  | 1 |  |
| Casting machine | Motor cast/induction casting preferred | 1 |  |

DEPARTMENT : ORAL PATHOLOGY AND ORAL MICROBIOLOGY

| Name | Specification | Quantity |  |
| --- | --- | --- | --- |
|  |  | Required | Available |
| Dental Chairs and Units | With shadowless lamp, spittoon, 3 way syringe, instrument tray and suction | 1 |  |
| Microscopes |  | 20 |  |
| Microtome |  | 1 |  |
| Wax bath |  | 1 |  |
| Water bath |  | 1 |  |
| Knife sharpner |  | 1 |  |
| Hot plate |  | 1 |  |
| Spencer knife |  | 1 |  |

DEPARTMENT: ORAL & MAXILLOFACIAL SURGERY

A) EXODONTIA

| Name | Specification | Quantity |  |
| --- | --- | --- | --- |
|  |  | Required | Available |
| Dental Chairs and Units | As per specification | 15 |  |
| Autoclaves | Front loading Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters | 2 |  |
| Ultrasonic Cleaner | Minimum capacity 13 liters with mesh bucket | 1 |  |
| Needle burner with syringe cutter |  | 4 |  |
| Extraction forceps sets | Complete set | 10 |  |
| Dental elevators | Complete set | 5 |  |
| Minor Oral surgery kits |  | 3 |  |
| Emergency drugs tray |  | 1 |  |
| Oxygen cylinder with mask |  | 1 |  |
| X-ray viewers |  | 2 |  |
| Computer | Minimum Pentium IV | 1 |  |

B) MINOR SURGERY

| Dental Chairs and Units | As per specification | 3 |  |
| --- | --- | --- | --- |

DEPARTMENT : PERIODONTOLOGY

| Name |  | Specification |  | Quantity |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Required |  | Available |
| Dental Chairs and Units | Electrically operated, Spittoon attachment, Halogen Light with 2 intensity, high power evacuation system, Air ventury suction, X-ray viewer, Airrotor, Micromotor with straight and contrangle Handpiece, With shadowless lamp, spittoon, 3 way syringe, ultrasonic sealer with 3 tips, X-ray viewer, instrument tray dental operator’s stool with height adjustment |  | 17 |  |  |  |
|  | Note: Atleast 25% of the units should have the Airpolisher. |  |  |  |  |  |
| Scaling instrument sets |  |  | 5 |  |  |  |
| Surgical instrument sets |  |  | 3 |  |  |  |
| Autoclave | Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters |  | 2 |  |  |  |
| Ultrasonic scaler | Minimum capacity 13 liters with mesh bucket |  | 1 |  |  |  |
| Electro surgical cautery |  |  | 1 |  |  |  |
| Needle burner with syringe cutter |  |  | 4 |  |  |  |
| LASER | Soft tissue laser |  | 1 |  |  |  |
| Surgical motor with physio dispenser |  |  | 1 |  |  |  |

DEPARTMENT : ORTHODONTICS

| Name | Specification | Quantity |  |
| --- | --- | --- | --- |
|  |  | Required | Available |
| Dental Chairs and Units | As per specification | 9 |  |
| Unit mount scaler |  | 3 |  |
| Autoclave | Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters | 1 |  |
| Ultrasonic Cleaner | Minimum capacity 13 liters with mesh bucket with digital timer | 1 |  |
| ORTHO LAB |  |  |  |
| Plaster dispenser | One each for plaster and stone plaster | 2 |  |
| Vibrator |  | 2 |  |
| Model Trimmer |  | 1 |  |
| Micromotor – | heavy duty | 2 |  |
| Lathe |  | 1 |  |
| X-ray viewers |  | 2 |  |
| OPG with cephalostat | If available in radiology its is adequate. | 1 |  |
| Welders |  | 2 |  |
| Blue Torch |  | 1 |  |
| Base Formers |  | 2 |  |
| Typodont |  | 2 |  |
| Set of Pliers |  | 5 |  |
| Welder with soldering attachments |  | 1 |  |
| Hydro solder |  | 1 |  |
| Typhodont articulator | With metal teeth wax rim of Class I, II, III | 3 |  |
| Pressure moulding machine |  | 1 |  |

DEPARTMENT : PAEDIATRIC AND PREVENTIVE DENTISTRY

| Name |  | Specification | Quantity |  |
| --- | --- | --- | --- | --- |
|  |  |  | Required | Available |
| Dental Chairs and Units | As per specification (Pedo chair preferred) |  | 10 |  |
| Autoclaves | Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters. |  | 1 |  |
| Ultrasonic cleaner | Minimum capacity 13 liters with mesh bucket with digital timer |  | 1 |  |
| Needle Burner with syringe cutter |  |  | 2 |  |
| Amalgamator |  |  | 1 |  |
| Pulp Tester-Digital |  |  | 1 |  |
| Rubber dam kit for pedo |  |  | 3 |  |
| Apex locator |  |  | 1 |  |
| Endo motor | With torque control HPs |  | 1 |  |
| Injectable gutta percha with condensation |  |  | 1 |  |
| Radiovisiography | Digital intra X-ray system with pedo sensor and software |  | 1 |  |
| Intra Oral Camera | With high resolution |  | 1 |  |
| Scaling instruments |  |  | 5 |  |
| Restorative instruments |  |  | 5 |  |
| Extraction forceps |  |  | 5 |  |
| Intra-oral X-ray |  |  | 1 |  |
| Automatic Developer |  |  | 1 |  |
| Computer | Minimum Pentium IV |  | 1 |  |

| PEDO LAB |  |  |  |
| --- | --- | --- | --- |
| Plaster dispenser | One each for plaster and stone plaster | 2 |  |
| Model Trimmer | With diamond disc | 1 |  |
| Model Trimer | Double disc one diamond and one carborandum disc | 1 |  |
| Welder with soldering attachments |  | 1 |  |
| Vibrator |  | 2 |  |
| Lab micro motor | Heavy duty with Hps | 2 |  |
| Dental Lathe |  | 1 |  |
| Model Trimmer |  | 1 |  |
| Steam cleaner |  | 1 |  |
| Pressure moulding machine |  | 1 |  |
| Carborandum Disc |  | 1 |  |
| Diamond disc |  | 1 |  |

DEPARTMENT : ORAL MEDICINE AND RADIOLOGY.

| Name |  | Specification | Quantity |  |
| --- | --- | --- | --- | --- |
|  |  |  | Required | Available |
|  | (Space allocation for each Dental chair 100 Sq Ft in all the Departments) |  |  |  |
| Dental Chairs and Units | As per specification |  | 6 |  |
| Panoramic X-Ray with Cephalometric | Preferably digital |  | 1 |  |
| Intra Oral X-ray Unit | 70 KV , 8mA, high frequency preferably Digital timer |  | 2 |  |
| Pulp testers | Digital |  | 2 |  |
| Automatic periapical X-ray Developer |  |  | 1 |  |
| Automatic Panoramic with Cephalometric X-ray Developer |  |  | 1 |  |
| X-ray viewer | For Panoramic and Cephalometric films |  | 2 |  |
| Radiovisiography | Digital Intra X-ray System with one Sensor and Software |  | 1 |  |
| General X-ray Unit |  |  | 1 |  |
| Ortho Pantmograph | preferably digital |  | 1 |  |
| Automatic Developers/Dark Room |  |  | 1 |  |
| Lead aprons |  |  | 2 |  |
| Lead Gloves |  |  | 1 |  |
| X-ray Hangers |  |  | 6 |  |
| X-ray viewers |  |  | 2 |  |
| Diagnostic Kits | Mouth mirror, dental probe, college tweezers |  | 20 |  |
| Lead Screen |  |  | 1 |  |
| Biopsy Kit |  |  | 1 |  |
| Autoclave | Having wet and dry cycle, which can achieve 1350C with minimum capacity of 20 liters |  | 1 |  |
| Computers | Minimum Pentium –IV |  | 1 |  |
| Intra Oral Camera | With High resolution |  | 1 |  |
| Needle Burner with Syringe Cutter |  |  | 2 |  |

DEPARTMENT: PUBLIC HEALTH DENTISTRY

| Name | Specification |  | Quantity |  |
| --- | --- | --- | --- | --- |
|  |  |  | Required | Available |
| Dental Chairs and Units |  | Electrically operated, Spittoon attachment, Halogen Light with 2 intensity, Air ventury suction, micromotor control light cure 3 way syringe, X-ray viewer, instrument tray Dental Operators stool with height adjustment With shadowless lamp, spittoon, 3 way syringe, instrument tray and suction, micromotor, airotor, light cure | 8 |  |
| Autoclaves |  | Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters. | 1 |  |
| Ultrasonic cleaner |  | Minimum capacity 13 liters with mesh bucket with digital timer | 1 |  |
| Needle burner with syringe cutter |  |  | 2 |  |
| MOBILE CLINIC |  |  |  |  |
| Mobile dental van |  | Mobile dental van with two dental chairs with all the attachments and adequate sitting space for 15 to 20 people |  |  |
| Dental chair with unit |  | Hydraulically operated with spittoon attachment, halogen light with 2 intensity, air ventury suction, airrotor, micromotor, 3 way-scaler and light cure, x-ray viewer, instrument tray, operating stool. | 2 |  |
| Autoclaves |  | Having wet and dry cycle, which can achieve 135°C with minimum capacity of 20 liters. | 1 |  |
| Intraoral x-ray |  | Portable, 70 KV, 8mA | 1 |  |
| Glass bead sterilizers |  |  | 1 |  |
| Compressor |  | 1.25HP | 1 |  |
| Metal Cabinet |  | With wash basin | 1 |  |
| Portable dental chair |  | Suitcase unit with airrotor, micromotor, scaler and compressor 0.25HP | 2 |  |
| Stabilizer |  | 4KV | 1 |  |
| Generator |  | 4KV | 1 |  |
| Water tank |  | 400ltrs | 1 |  |
| Oxygen cylinder |  |  | 1 |  |
| Public address system |  |  | 1 |  |
| TV and video cassette player |  |  | 1 |  |
| Demonstration models |  |  |  |  |

| Whether all the above-mentioned equipments are functioning? | : | Yes / No |
| --- | --- | --- |
| Whether detailed list of equipments as furnished by the college authority is attached | : | Yes / No |

XIII.	CONSTRUCTED AREA

DENTAL COLLEGE BUILDING

Total Constructed Area Required:  50,000 Sq.ft.

| FLOOR | AREA (sqft) | CLININCAL FACILITIES | ACADEMIC DEPARTMENTS | ADMIN / LOGISTICS / SUPPORT | MAJOR FACILITIES |
| --- | --- | --- | --- | --- | --- |
| Basement |  |  |  |  |  |
| Ground |  |  |  |  |  |
| First |  |  |  |  |  |
| Second |  |  |  |  |  |
| Third |  |  |  |  |  |
| Fourth |  |  |  |  |  |
| Other |  |  |  |  |  |
| TOTAL |  | AREA (sq.ft.) |  |  |  |

STAFF QUARTERS (SEPARATE FROM HOSTEL)

| Type (no of rooms) | No. | Occupancy Rate (verified) |
| --- | --- | --- |
| Principals Bunglow |  |  |

HOSTEL FOR BOYS & GIRLS

| Whether the building of Hostels for Boys & Girls is separate from the dental college building and staff quarters | : | Yes / No |
| --- | --- | --- |
| Whether Hostels for Boys & Girls are within the campus | : | Yes / No |
| Whether hostel is shared by other colleges/ institutions | : | Yes / No |

| Dwelling | Single Seater | Twin Seater | Triple Seater | % of Accom against total strength | No of equipped Common Rooms | No of messes | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Boys |  |  |  |  |  |  |  |
| Girls |  |  |  |  |  |  |  |

INFRASTRUCTURE & FUNCTIONAL REQUIREMENTS

| Infrastructure | Requirement | Availability |
| --- | --- | --- |
| Administrative block | 2000 sq. ft. |  |
| Library | 4500 sq. ft. |  |
| Lecture Halls – 4 | 3200 sq. ft. |  |
| Central Stores | 400 sq. ft. |  |
| Maintenance room | 600 sq. ft. |  |
| Photography and artist room | 250 sq. ft. |  |
| Medical Stores | 250 sq. ft. |  |
| Amenities area | 2000 sq. ft. |  |
| Compressor and room for gas plant | 200 sq. ft. |  |
| Cafeteria | 800 sq. ft. |  |
| Examination hall | 1800 sq. ft. |  |
| Auditorium (To accommodate at least 400 people) |  |  |
| Laboratories (Dental Subjects) |  |  |
| Pre-clinical Prosthodontics and dental material lab | 1500 sq. ft. |  |
| Pre-clinical conservative lab | 1300 sq. ft. |  |
| Oral biology and oral pathology lab | 1300 sq. ft. |  |
| Laboratory for orthodontics and Pedodontics | 800 sq. ft. |  |
| Laboratories (Medical Subjects) |  |  |
| (only for independent dental colleges) | 4500 sq. ft. |  |
| Anatomy dissection hall with storage for cadavers, osteology, demonstration room etc. | 1500 sq. ft. |  |
| One laboratory for physiology and pathology and microbiology with stores and preparation rooms for individual subjects attached to it. | 1500 sq. ft. |  |
| Laboratory for biochemistry and pharmacology with store and preparation rooms separately for both subjects | 1500 sq. ft. |  |
| Laboratories (Clinical) |  |  |
| Prosthodontics | 1300 sq. ft. |  |
| Conservative Dentistry | 300 sq. ft. |  |
| Oral pathology for histopathology | 400 sq. ft. |  |
| Haematology and clinical biochemistry | 200 sq. ft. |  |

XIV.	A copy each of the audited balance sheet (By Charted Accountant) of the Trust/Society is to be furnished.

We hereby declare that all the documents regarding Building / Essentiality Certificate/University Affiliation/100 Bedded General Hospital / Teaching Staff etc have been physically verified by us.

_______________________						_______________________

Signatures of Inspector						Signatures of Inspector

## AFFIDAVIT

(on non-judicial stamp paper)

Photograph

I, Dr. ______________________ S/o, D/o, W/o ___________________ presently working full-time as  _______________________ (mentioned designation) in ______________________ (name and address of the Dental College), solemnly affirm and declare that I am not working in any other institution in any capacity and not in full-time private practice.

I also solemnly affirm and declare as under :-

Date of Birth	:	__________________________

QUALIFICATIONS :

| Degree | College of Study | University | Year & Month of Passing | Speciality | Registration No. of UG & PG with date | Name of the State Dental Council |
| --- | --- | --- | --- | --- | --- | --- |
| B.D.S. |  |  |  |  |  |  |
| M.D.S. |  |  |  |  |  |  |
| Any Other |  |  |  |  |  |  |
| D E P O N E N T |  |  |  |  |  |  |

# TEACHING EXPERIENCE

Details of the previous appointments/teaching experience after MDS Qualification only if employed on full-time basis as teaching experience on part-time/visiting basis or on daily wages basis are not acceptable and will not be taken into consideration for determining length of teaching experience :

| Position | Name of Institution | From | To | Total Experience Year-Month-Day |
| --- | --- | --- | --- | --- |
| Lecturer (Full-time) |  |  |  |  |
| Asstt. Professor /Reader (Full-time) |  |  |  |  |
| Associate Professor (Full-time) |  |  |  |  |
| Professor (Full-time) |  |  |  |  |
| Dean/Principal (Full- time) |  |  |  |  |

DEPONENT

Date

Contd/….2

-  2  -

- Before joining present institution I was working at _________________________ as ______________________________ and relieved on ___________________ after resigning/retiring.

(a)	Relieving Order No. & Date :

(Enclose copies of Relieving Order, Experience Certificates, T.D.S. Certificate)

(b)	Appointment Order No. & Date

of the previous appointment :

(Copy attached)

A certified copy of – (a) Appointment letter of the previous institutions, (b) Resignation to the previous institutions or Relieving letter from the previous institutions are attached.

- I am not working in any other medical college/dental college in the State or outside the State in any capacity viz. full-time/part-time.

- TDS Deduction yearly for last three years :

| S. No. | # Financial Year | # Total Tax Deducted Yearly |
| --- | --- | --- |
| 1) |  |  |
| 2) |  |  |
| 3) |  |  |

(A certified copy each of my Form 16 (TDS certificate) for financial years* ____________________________________ is attached)

D E P O N E N T

*	In the case of Professor last three financial years and in the case of Reader last one financial year.

For proof of the residential Address please attach any one of the following documents :- (a) Ration Card (b)Telephone Bill in the name of Deponent (c) Election Card (d) Water Bill in the name of Deponent (e) Proof of Children Education (f) Electricity Bill in the name of Deponent

| Phone & Fax Number of Dental College : |  |
| --- | --- |

| Address of Office : |  |
| --- | --- |
| Phone No. : |  |

| Address of Residence : |  |
| --- | --- |
| Phone No. : |  |

| E-Mail address : |  |
| --- | --- |
| Date of Joining the present Institution : |  |

PAN No.				I.T. Circle :

DEPONENT

Date

Contd/….3

-  3  -

| #### Full time/Part time | : | I have been appointed as full-time Professor/Reader/Lecturer at the said college. Appointment Order No. & Date of the present appointment : (Copy attached) |
| --- | --- | --- |
| Salary offered on the U.G.C. Pay-scales | : | I have been offered UGC Pay-Scales for the above-said post by the above college authority |
| #### Letter of Acceptance | : | I have accepted the above offer (a copy of the letter of acceptance is enclosed). |

I also solemnly declare that the information furnished herein is true to the best of my knowledge and nothing has been concealed and no statement made therein is false.

[N.B. Please note that making false statement in the affidavit will attract the relevant provision of the Indian Penal Code etc.]

DEPONENT

D E P O N E N T

Date :

Counter Signature

This is to certify that the information given by the above deponent is correct and nothing has been concealed therefrom and deponent is working in the _______________ (department) as _______________ (designation) as a full-time teacher in our college and is not engaged in full-time private practice anywhere.

[N.B. Please note that making false statement in the affidavit will attract the relevant provision of the Indian Penal Code etc.]

Chairman of the Trust

Seal with Date

# Principal of the College with seal

## Attestation by Notary Public/Oath Commissioner

#### CERTIFIED THAT THE DEPONENT

Dr. ……………………………………….

S/o, W/o, D/o ……………………………

Identified by Shri ……………………….

has solemnly affirmed before me at ____

on ……………….. at Sl. No. ……………

that the contents of the affidavit which

have been read and explained to him/her

are true and correct to his/her knowledge.

#### Signature Notary Public/Oath Commissioner

We have verified all the relevant documents and confirmed that information given are true to our knowledge and the above staff member was present during the inspection.

Check list for the Inspectors

For Renewal BDS

|  | All Inspection Reports by the Council's Inspectors/Visitors will be put on the website of Ministry of Health & Family Welfare, Govt. of India, New Delhi. Please be specific while preparing the Inspection Report. |  |  |
| --- | --- | --- | --- |
|  | Is the Inspection Proforma filled Completely and each page signed by both the inspectors. | Yes | No |
|  | Has the essentiality certificate and University affiliation been checked and found in order? | Yes | No |
|  | Has the infrastructure and equipment been checked as per the prescribed DCI norms. Have the vouchers for clearance of payment to the suppliers been verified? | Yes | No |
|  | Is the attached hospital (100 bedded) as per the BIS norms and is located within 10 kms from the Dental College and the teachers are posted as per MCI norms? Has the Hospital obtained sanction from the competent authority of the state i.e. State Government/Secretary Health/DGHS etc. | Yes | No |
|  | Percentage & daily occupancy in the attached 100 bedded hospital in the last 6 months. Authority & attachment with 100 bedded/ Medical college and interaction with CMO/Registrar about Medical teaching of BDS- (Separate para with details). |  |  |
|  | Have you checked the Training Programme being followed by the college as per DCI Regulations 2007? | Yes | No |
|  | Have the Dental and Medical faculty been checked for the following? - Appointment:- The appointment of faculty in private dental colleges should be made through proper selection committee (as per University Act of the concerned state and as per Dental Council of India (Miscellaneous) Regulations 2007, The Gazette of India Part III Section (IV) page 3 serial No. 8 (b) Affidavit (Yes/No) (c) Teaching Experience (Yes/No) (d) Reliving certificates from previous Institution (Yes/No) (e) TDS certificate (Yes/No) (f) Form 16 (Yes/No) (g) Proof of Residence (Yes/No) (h) DCI - Identity Card (Yes/No) (j) Any staff on Notice Period (Not to be considered after submission of resignation) (Yes/No) (k) Biometric Attendance made functional so far. If not, give reason. (l) Signature of the teaching faculty on the day of inspection. | Yes | No |
|  | Is the list of teaching staff as per DCI format enclosed? | Yes | No |
|  | Have you checked clinical material at the end of the OPD and patient inflow as per norms? (given in the inspection proforma) CLINICAL MATERIAL (PATIENTS) REQUIREMENT FOR BDS COURSE WITH 50 SEATS. Starting BDS; 2nd year; 3rd year; 4th year; Recognition. 25; 50; 75; 75-100; 75-100. CLINICAL MATERIAL (PATIENTS) REQUIREMENT FOR BDS COURSE WITH 100 SEATS. 50; 75; 100; 100-150; 100-150. | Yes | No |
|  | Have you checked the Library for Journals/Books other facilities. | Yes | No |
|  | Have you submitted your detailed comments with strengths and shortcomings if any in your inspection report. | Yes | No |
|  | Whether any case of ragging has been reported in the Institution during the last one year, if yes, action taken thereon. | Yes | No |

| Signature of Inspector with full name and date | Signature of Inspector with full name and date |
| --- | --- |

Note:	Please retain one copy of the Inspection Report duly signed by the Inspectors for future 	eventualities for a period of 8 weeks and the then destroy.